## Slide 1
Detectors
Support Board
(detection firmware)
Detector Board
Multiplexing
(CI & MB)
Host PC
Data
Control
Support Board
(coincidence firmware)

## Slide 2
Power and Fans
Empty
Empty
Empty
Empty
Empty
Empty
Empty
Empty
Empty
Host PC Interface
User IO
Debugging
Support Crate
0
1
2
3
4
5
6
7
8
9
10
11
Support Board
Power and Fans
Detector Board 0
Detector Board 1
Detector Board 2
Detector Board 3
Detector Board 4
Detector Board 5
Detector Board 6
Detector Board 7
Coincidence Interface-1
Host PC Interface
User IO
Debugging
Detector Unit (Standard System)
0
1
2
3
4
5
6
7
8
9
10
11
Support Board

## Slide 3
Power and Fans
Multiplexer Board-1
Multiplexer Board-1
Multiplexer Board-1
Multiplexer Board-1
Multiplexer Board-1
Multiplexer Board-1
Multiplexer Board-1
Multiplexer Board-1
Empty
Host PC Interface
User IO
Debugging
Coincidence Unit (Standard System)
0
1
2
3
4
5
6
7
8
9
10
11
Support Board
Power and Fans
Multiplexer Board-8
Multiplexer Board-8
Multiplexer Board-8
Multiplexer Board-8
Multiplexer Board-8
Multiplexer Board-8
Multiplexer Board-8
Multiplexer Board-8
Empty
Host PC Interface
User IO
Debugging
Coincidence Unit (Large System)
0
1
2
3
4
5
6
7
8
9
10
11
Support Board

## Slide 4
CI-1
MB-1
MB-1
MB-1
MB-1
MB-1
MB-1
MB-1
MB-1
CI-1
CI-1
… (up to eight)
CU
DU0
DU1
DU7
OpenPET Standard System
Host PC

## Slide 5
Detector Unit
Host PC
CI-8
MB-8
MB-8
MB-8
MB-8
MB-8
MB-8
MB-8
MB-8
CI-8
CI-8
… (up to 64)
CU (up to 8 DU per MB-8)
DU0
DU1
DU63
Host PC

## Slide 6
Timing Signals
Short Event Word Mode (Time Slice Boundary Every 8 Clock Ticks)
System Clock
(80 MHz)
Slice Boundary
System Clock
(80 MHz)
Slice Boundary
Long Event Word Mode (Time Slice Boundary Every 16 Clock Ticks)

## Slide 7
(a)
(b)

## Slide 8
16-channel front-end
circuitries
IN0
IN1
.
.
.
IN6
IN15
Inputs are only negative polarity
FPGA
Altera
Cyclone III
2 MB
Memory
96-pin VME Backplane Connector
Clock /Slice Out
Clock /Slice In
Digital I/O
Singles Events
Communication Bus (JTAG, SPI)
Power
Clock and Slice
Trigger
Control Lines
Data

## Slide 9
Filter 7MHz
FPGA
Fast Comparator
Threshold Adjust (1-2500 mV)
“Timing DAC”
x16 for each 16-channel Detector Board
Slow Comparator
Threshold Adjust (1 - 4000 mV)
“Energy DAC”
Fast Amp
x10
OPA2694
(+/-5V)
x-2
THS4303
(+/-2.5V)
LTC6605-7
(+5V)
MAX9602
MAX964
PECL to LVDS
SY55855VKG
SE to LVDS
+
-
+
-
OPA4227
12-bit ADC
ADS5282
IN

## Slide 10
Format of OpenPET System Commands and Responses:
Format of Command ID:
Format of SRC Address / DST Address: